Inland 45 Vacuum Pump Oil

## Description:

Inland 45 is a synthetic hydrocarbon fluid that permits strain-free cold starts as a result of its low pour point and high viscosity index – their viscosity is lower than that of a typical vacuum pump oil at low temperatures. In addition, because Inland 45 maintains its viscosity at high temperatures, it provides a good seal under full-load conditions.

Because of its unique molecular structure, Inland 45 exhibits low vapor pressure, as well as chemical resistance and high temperature stability superior to those of other high performance oils such as white oils. It is non-toxic, non-corrosive, and reclaimable. Inland 45 is compatible with Buna-N, neoprene, and Viton elastomers; it is also miscible with petroleum-based oils, Freon, aromatic solvents, and flushing fluids.

#### Beneficial Features:

- High thermal stability

- Easy to cold start

- Low vapor pressure

- Compatible with Buna-N, neoprene, and Viton elastomers.

- Chemical resistance

- Excellent seal under full-load

| Specification | Inland 45 |
| --- | --- |
| Vapor Pressure at 25ºC (torr) | <1x10-7 |
| Boiling Point at .01 torr (ºC) | 133 |
| Viscosity at 40ºC (cSt) | 53 |
| Pour Point (ºC) | -59 |
| Flash Point (ºC) | 264 |
| Fire Point (ºC) | 288 |
| Density at 25ºC (g/ml) | 0.83 |

#### Vacuum Applications:

- Mass spectrometry

- Gas chromatography – mass spectrometry (GC-MS)

- Thin film sputtering

- Electron microscopy

- UHV systems

- Leak detection